On-Site Live HV Work Technique Review (HV Stick)

Team Members………………………………………………………………………………………………………………

Job Location…………………………………………………………………………………………………………………

Task……………………………………………………………………………………………………………………………

Date……/………/…….

| No. | Item | Compliance | Comments |
| --- | --- | --- | --- |
|  |  | Yes | No | N/A |  |
|  | Undertake Hazard & Risk assessment Voltage identification Structure security/soundness inc adjacent poles Manage step & Touch potential Communication link to control room available Live Line protection enabled Traffic and pedestrian control Safe to approach test (SWER) |  |  |  |  |
|  | Use of Insulated Sticks Clean/prepare for use Inspect sticks and brackets for problems. Check within test. Setting of MAD markers. Check operation of tools attached Check tool operation (shotgun sticks) Correct tools/sticks selected Tool cord replaced prior to days work |  |  |  | Next Test Date: / / |
|  | Act as a Safety Observer Concentration maintained Effective Communication with crew aloft Positioned to view personnel aloft Vest/identification worn. Verbalised warning for crew aloft if applicable |  |  |  |  |
| No. | Task/Technique | Compliance | Comments |
|  |  | Yes | No | N/A |  |
|  | Use EWP Prestart checks completed. Within Electrical Test Secondary EWP controls working Escape devices present Ground person aware of rescue methods EWP chassis Earthed Clearances from uninsulated parts maintained. Insulated section cleaned and inspected. Clearance from lower circuit managed. Drop zone covered if clearance can’t be maintained. SWL not exceeded Hydraulic tool hose condition / test date |  |  |  | Next Test Date: / / Next Test Date: / / |
|  | Use Fall Prevention Equipment. Inspected prior to use. Correct adjustment of harness Lanyard attached with energy absorber end to fall arrest point of harness. Dry lanyards used. Within inspection date |  |  |  | Next Inspection Date: / / |
|  | Live Line rope management. Inspection of rope for problems. Correct knotting used. Insulators used in taglines/headropes. Dry ropes used. Ropes tested where applicable |  |  |  |  |
|  | Working with Cranes Correct signals or standard terminology used. One person direction of Crane operator. Clear directions conveyed between persons aloft and ground man. |  |  |  |  |

| No. | Task/Technique | Compliance | Comments |
| --- | --- | --- | --- |
|  |  | Yes | No | N/A |  |
|  | Make /Break bridges Load switching device used correctly Current loading identified /measured-checked for removal of load. Load break components checked prior to installation Jumper movement controlled/considered. Connections cleaned before jointing. Correct connectors used &installed in correct orientation. 1.6km distance not exceeded |  |  |  |  |
|  | Minimum Approach Distances Body positioning for task adequate EWP/Platform placement adequate Mobile plant used not breaking MAD |  |  |  |  |
|  | Crossarm Replacement Intermediate Angle Termination Correct helical terminations selected Load change considered on adjacent structures |  |  |  |  |

## General Comments: